| Name of activity, event, and location | SQUIRREL WOOD SCOUT CAMP SITE GENERAL USE OF SITE RISK ASSESSMENT | Date of risk assessment | 21ST JUNE 2026 | Name of person doing this risk assessment | GLYNIS ROBINSON |
| --- | --- | --- | --- | --- | --- |
|  |  | Date of next review | 21ST JUNE 2027 |  |  |

| What could go wrong? What hazard have you identified? What are the risks from it? | Who is at risk? | What are you going to do about it? How are the risks already controlled? What extra controls are needed? How will they be communicated to young people and adults and remain inclusive to all needs? | Review & revise What has changed that needs to be thought about and controlled? |
| --- | --- | --- | --- |
| A hazard is something that may cause harm or damage. The risk is the harm that may occur from the hazard. | For example: young people, adult volunteers, visitors | Controls are ways of making the activity safer by removing or reducing the risk. For example, you may use a different piece of equipment or you might change the way you do the activity. | Keep checking throughout the activity in case you need to change what you’re doing or even stop the activity. This is a great place to add comments which will be used as part of the review. |
| Slips trips and fall -General Risk – Bruises and cuts broken bones sprains, other impact injuries | Young People Adults Staff | Pedestrianised areas and paths kept clear across the site. • Lighting provided in busy areas such as around accommodation buildings and toilet block. • Group leaders advised to brief young people to take care and not to run when moving around woodland areas. • All staff members are First Aid trained. • First Aid kits located within all of the buildings and instructed activity zones. • Group leaders required to carry their own First Aid kits. |  |
| Use of the Car Park – Vehicles moving around the site Risk – Injuries caused by vehicle impact with pedestrians, such as cuts and bruises, fractures and sprains, head injuries. | Young People Adults Staff | • Site speed limit is 5mph • No unauthorised vehicles are allowed onto the camping areas. Only site vehicles or pre-arranged contractors (when accompanied by a member of staff) • Gates down the track are closed at all times, unless manned by a member of staff. Enforcement of one-way traffic system on the site access and camp centre must be adhered too. • During times of high traffic volume Squirrel Wood staff in high-vis jackets will be present to assist in directing traffic and pedestrians. |  |
| Fire -Buildings Risk - Injuries associated with large-scale fires, including burns, smoke inhalation, impact injuries from falling materials or explosion debris etc. | Young People Adults | . • All buildings fitted with fire alarm system which is tested on a weekly basis. • All buildings fitted with fire extinguishers • Fire escape routes kept clear and unlocked. • Fire escape routes clearly marked. • All visitors informed of fire safety and evacuation procedures in Welcome Pack staying in the building. • Group leaders must ensure that a fire drill is completed on everyone’s arrival and form completed. • All buildings are fitted with signage, emergency lighting and portable fire extinguishers. |  |
| Fire – Campsite Risk - Injuries associated with large-scale fires, including burns, smoke inhalation, impact injuries from falling materials or explosion debris etc. | Young People Adults | • Group leaders must ensure all fires are placed in either a fire pit/altar fire off the ground or designated fire areas. Ground fires are not permitted. • Appropriate firefighting equipment must be in place. A fire bucket in vicinity of fire so that it is accessible but not a trip hazard is the minimum. • Young people must always be supervised while any fire is lit. • Ensure that the area around the fire is kept clear of wood, tools, cooking equipment. • Ensure that all fires are fully out and no glowing embers at end of day/activity. • Use water if necessary to extinguish remaining embers. • Do not overly build fire up towards the end of the evening to allow it to burn out naturally as much as possible. • Ensure that everyone has correct footwear around campfires at all times. • Ensure that everyone is aware of the likelihood of there being splinters. • Do not build the fire up beyond the capacity of the defined fire pit/altar fire. • Only natural wood may be burnt. Pallets/fencing are strictly prohibited due to nails/treatments etc. • Keep a watch for sparks exiting the fire. • Sit at safe distance from fire. If necessary, move to another area away from fire to avoid direction of wind/smoke. |  |
| Trees Risk – Injuries or damage to property caused by falling trees or branches. Injuries including bruising and cuts, concussion, fractures, broken bones, other musculoskeletal injuries. | Young People Adults | • Tree management policy in place including regular tree survey by qualified arborist, to identify and remove dead, dying or dangerous trees. • Regular site checks carried out by Tree Surgeon, including removal of dead wood from canopy. • Site checks are carried out after bad weather conditions. Any issues are reported to tree surgeon for further investigation and/or removal. • All site users are asked to be vigilant of trees and report hazards. Group leaders organising camping trips must include hazards of site selection in their risk assessment and training to participants. • Due to summer branch drop or wind damage, tents must be pitched outside of the drip line of any tree at any time. • If winds are predicted to be over 29mph for the duration of your camp, the woods will be closed, and camping will only be permitted in open space away from the fall area of a tree. This will be communicated on arrival by staff and signage. |  |
| Power Cut Risk – danger or slips, trips and falls caused by lack of lighting in buildings | Young People Adults | • All buildings fitted with emergency lighting which illuminates in the case of a power cut. • All emergency exit signs are photo luminescent. |  |
| Waste Areas Risk- Slips, trips and falls caused by litter on floor. Injuries associated with handling waste, including cuts, grazes and puncture wounds. Infection caused by open cuts coming into contact with waste, or ingestion of waste substances, or presence of vermin. | Young People Adults Staff | • Regular collections to ensure waste does not build up above storage capacity by licensed waste contractor. • Area regularly checked and tidied to ensure it is free from trip hazards. • All waste to be placed in bags and put in bin • Large bins provided which do not require any interaction with the waste once placed into the bins. • Staff trained to wear PPE (latex gloves, provided) when handling waste. • All bins have solid lids, and any over-flowing waste cleaned up as soon as it is reported, to prevent vermin being attracted. • Only waste permitted can be placed in bins. No commercial, gas cylinders or waste oil is allowed. |  |
| LPG Gas Storage Risk – Injuries caused by fire or explosion, due to combustion of gas. | Y Young People Adults Staff | • LPG Storage area kept clear of combustible materials to minimise danger of fire. • Clear signage shown on fences to warn of flammable materials. • Gas re-filled only by qualified external contractor (Calor). |  |
| Gas appliances Risk – Injuries caused by fire or explosion, due to combustion of gas. | Adults Staff | • All gas appliances are subject to a yearly inspection by an appropriately qualified Gas Safe engineer and recorded. • CO2 monitors are in place throughout the buildings, checked monthly and recorded. • Staff are trained to identify electrical hazards, report and how to turn off supply. |  |
| Electrical faults and Appliances Risk- Injuries caused by improper use of electrical appliances or electrical faults. Injuries including electric shock, electrical burns. | Young People Adults Staff | • All fixed electrical systems are inspected every 5 years by approved/licenced contractors and regular overview checks made. • Portable electrical equipment owned by the site is tested on a regular basis. • Defective plugs/equipment reported immediately and taken out of use. • Group Leaders – Have the responsibity that electrical sockets supplied in buildings are not overloaded by extension cables. |  |
| Play Areas Risk – Sprains Cuts and grazes Broken Bones | Young People Adults | • Regular maintenance of play areas • Removal of obstructions and debris • Group Leaders should always provide suitable supervision for Young Memebers at all times • |  |
| Toilet Block Risk – Slips trips Hygiene | Young People Adults Staff | Main entrance door to be left open during camp site use • Regular routine inspection of facilities , with clearing and mopping of floors as required • Warning notices identifying risk of slipping |  |